KY-1010EMD#

LAYER 3, Layer 2, Layer 2+, and Layer 2++ HARDENED, IP40, MANAGED, 10 PORTS, 10 GbE / Gigabit, Shelf or Wall Mount, Military Grade, INDUSTRIAL, POWER OVER ETHERNET Plus (IEEE 802.3 af/at, 30 Watts) Traffic / Video SWITCH with ERPS, Fiber & Copper Cable Diagnostics, Remote Temperature Sensing, DDMI, MAC Table, Device Binding, Cable Diagnostics, Cyber Secure Video (CSV) with silicon enhancements & Clean Code Technology. Supported by KY-DONGLE – Easy Maintenance Dongle for Data & Configuration Automated Backup. Supports VeriTime (trademarked) IEEE 1588v2. Supports ITU G.8032v2, IGMP. Certified UL 609501 Hazardous Locations (HazLoc)

Temperature Range: -40 C ~ +85 C

Show Querier Command – for Camera Networks

Strict Priority: DRR, DWRR, & WFQ Algorithms

Remote Temperature Sensing / Safe Switch Temperature Alarms

MTBF >227,000 Hours

Made in USA

# PART 1 – GENERAL

# The intent of this document is to specify the minimum criteria for the engineering, design, supply, installation, and commissioning of the DYMEC 10 port, 2 x 10 GbE, 8 x 10/100/1000Base(T)X PSE RJ-45, Layer 3, Layer 2, Layer2+ and Layer 2++, Shelf or Din-Rail, Managed, Military Grade Industrial Power Over Ethernet Traffic Switch, with CYBER-SECURE Video (CSV), Cable Diagnostics, and Clean Code Technology. IP40 Hardened Casing. DC Powered. All ports and power inputs are surge protected and the switch is Fanless (Convection Cooled).

# Works in NEMA and Non-NEMA Traffic Cabinets

# Temperature Range: -40C ~ +85C

# IEEE 1613 Certified

# IEC 61850-3 Certified

# ITU G.8032v2 Certified

  - SUMMARY

- The Layer 3, 2, 2+, 2++ Managed, Industrial,10 GbE switches are a series of managed industrial edge, and or core switches that are used as access devices to provide entry points into core networks, or can be used to form a core network.  The switch enables connectivity for eight (8) 10/100/1000BaseT(X) PSE twisted pair copper, two (2) 100/1000Base(X) SFP Slots (1 GbE) and two (2) 1000/10000Base 10 GbE (X) Small Form-Factor Pluggable (SFP+) Gigabit sockets. The 2 SFP/SFP+ socket ports can be configured as 10/100/1000BASE-T(X) RJ45 copper ports, Copper VDSL2, or 1000 / 10000BASE-SX/LX/LH/ZX, LC fiber ports, in any permutation, to provide maximum network flexibility.

- The Ethernet switches can operate across a wide range of operating temperatures, in non-environmentally conditioned, industrial applications. The Ethernet switches support a communications protocol specifically designed for industrial applications to provide automatic recovery of cable and port failure in less than 5 ms. The switches are designed to be managed through many different interfaces, (GUI, Command Line, Telnet, SSH) and provide a large range of hardware and software features to ensure ease of installation and enhancement of network performance.

# All ports and power inputs are surge protected and the switch is Fanless (Convection Cooled).

- Every switch is programmed using precision programming techniques and algorithms (Clean Code Technology) and incorporates CYBER-SECURE Video (CSV) for enhanced switch protection against hackers, viruses and BOTS.

  - SECTION INCLUDES

- KY-1010EMD# Layer 3, 2, 2+, 2++, Industrial Hardened, 10 Port, Managed Gigabit switch – 8 X 10/100/1000BaseT(X) PSE RJ45 ports, 2 X 1000/10000Base(X) and 2 X 1000/10000Base(X) 10 GbE SFP+ Ten Gigabit Sockets, – Card Rack – Input File Mount, Wide Range Power Supply 48 - 57 Volts dc.

  - REFERENCES

# Conformity for Europe (CE)

# American National Standards Institute (ANSI)

# Federal Communications Commission (FCC)

- Australian Communications Authority (C-Tick)

- International Electro-Technical Commission (IEC)

- Electronic Industry Association (EIA)

- Institute of Electrical and Electronics Engineers (IEEE)

- European Standards (EN)

- Restriction of Hazardous Substances (RoHS)

- Consultative Committee for International Radio (CCIR)

- Underwriters Laboratories Inc. (UL)

- Underwriters Laboratories of Canada (ULC)

- Waste Electrical & Electronic Equipment (WEEE)

- Open Network Video Forum (ONVIF)

- Physical Security Interoperability Alliance (PSIA)

- Software Engineering Institute (SEI)

- National Security Agency (NSA)

- Central Security Service (CSS)

- National Electrical Manufacturers Association (NEMA)

- Voluntary Control Council for Interference by Information Technology Equipment (VCCI)

- American Certified Ethernet (ACE)

- NEMA TS-2

- International Telecommunication Union (ITU)

  - DEFINITIONS

# No Substitutes:  The exact make and model number identified in this specification shall be provided without exception.

# Or Equal:  Any item may be substituted for the specified item provided that in every technical sense, the substituted item provides the same or better capability and functionality

# Or Approved Equal:  A substitute for the specified item may be offered for approval by the Owner.  The proposed substitution must, in every technical sense, provide the same or better capability and functionality as the specified item.  Such requests for approval shall be submitted in accordance with the provisions of PART 1.06 – SUBMITTALS, and must be obtained within the time frames outlined.

  - SYSTEM DESCRIPTION

- Performance Requirements:

  - Provides managed edge connectivity into core networks.

  - Provides managed core network capability, if required.

  - IEC 61850-3 Certified

  - IEEE 1613 Certified

  - Supports ITU G.8032v2

  - Supports UL 60950-1 Hazardous Locations (HazLoc)

  - Strict Priority: DRR, DWRR, & WFQ Algorithms

  - Provides ERPS Ring Protection

  - Provide 2 x 10GbE SFP+ Slots

  - MAC Table 32 K

  - Priority Queues 8

  - Security Queues 8

  - Switching Fabric Latency <7 us

  - Switching Bandwidth 64 Gbps

  - Port Rate Limiting – User Defined

  - Provides dual redundant uplink capability.

  - Provides 8 x 10/100/1000BaseT(X) PSE RJ45 ports (30 Watts)

  - Supports Single mode, Plastic or Multi mode Fiber

  - Fiber Range 1 Meter to 120 KM

  - Possess a power consumption of less than 12 Watts Typical (Excluding POE)

  - Operate in temperature ranges of -40°C to +85°C

  - Provide a casing with IP40 protection class.

  - Recover from port and cable failures in less than 5ms.

  - Provide Device Binding +

  - Possess the ability to be configured using HyperTerminal, Telnet, SSH and a Web Browser.

  - Possess 4095 Vlan’s

  - VLAN ID Range 1-4095

  - IGMP Multicast Groups 128 for Each Vlan

  - Possess Port Status indicators.

  - Possess Ring Port Status indicators

  - Provide Fiber Cable diagnostics & Remote Temperature Sensing

  - Provide full SFP Diagnostics & DDMI Support

  - Provide Copper Cabling Diagnostics

  - Provide MAC Table (32 K) Display & Diagnostics

  - Support Jumbo Frame – 10 K Bytes

  - Possess CYBER-SECURE Video with Silicon Enhancements

  - Possess Clean Code Technology (Precision Coding Algorithms)

  - IP HD Camera Ready

  - Supports Enhanced Device Binding Security Feature

  - Enable / Disable Ports, MAC Based Port Security

  - Port based Network Access Control (NAC) (802.1x)

  - MAC – Based Authentication

  - MAC – Address Limit

  - VLAN Support (IEEE 802.1Q-2014) to Segregate & Secure Traffic

  - VLAN Trunking

  - Radius Centralized Password Management

  - SNMPv3 Encrypted Authentication & Access Security

  - Https / SSH Enhanced Network Security

  - WEB & CLI Authentication & Authorization

  - IP Source Guard (Filtering Security Mechanism)

  - Possess Automatic Denial of Service (DOS) / Distributed Denial of Service (DDOS) attack prevention and quenching mechanisms on every port.

  - Possess IP Policing and Port Binding Mechanism for MAC Address and IP Addressing Security.

  - Quick Configuration Wizard for Cameras / HD Video

  - Fiber Switch Latency of 5 us or less

  - Hardware Routing, RIP & Static Routing

  - IEEE 1588v2 Clock Synchronization – with Security

  - IEEE 802.1D Bridge, Auto-MAC Address Learning, Aging & MAC Address (static)

  - Supports MVRP – Multiple VLAN Registration Protocol

  - Supports IEEE 802.1ak - Multiple Registration Protocol (MRP)

  - Redundant Fiber Recovery Time less than 25 ms. Over 300 devices

  - MSTP (RSTP / STP Compatible)

  - Supports TOS / Diffserv

  - Supports IEEE 802.1p Quality of Service for real time traffic

  - Supports IEEE 802.1Q with VLAN Tagging

  - Supports IGMP v2/v3 Snooping

  - Supports IP Based Bandwidth Management

  - Supports IP Policing

  - Supports Application Based QoS Management

  - Software Based DOS / DDOS Auto-Prevention

  - Silicon Based DOS / DDOS Auto-Prevention

  - Supports Port Configuration & Labeling

  - Supports Port Status, Statistics, Monitoring & Security

  - Easy Configuration Wizard

  - Supports Extended DHCP Server / Client

  - Supports Secure DHCP Server / Client

  - Supports DHCP Relay

  - Supports Modbus TCP

  - Supports SMTP Client

  - Supports SNTP Server

  - Supports Network Redundancy

  - Supports VRRP

  - Supports Redundant Fiber Ring / Ring Chain

  - Supports MRP Fiber Rings (Siemens / Ruggedcom Compatible)

  - Supports DC or AC Power Inputs

  - Redundant Power Supplies (Optional)

  - NEMA TS1 & TS2

  - SMART LED Display System

  - Dimensions : 58.0 (W) x 114.0 (D) x 205.0 (H) mm

  - Requires < 18 Watts

  - Supports VDSL2 SFP

  - KY-Dongle - Backup Capable for Automated Data & Configuration Backup

# All ports and power inputs are surge protected and the switch is Fanless (Convection Cooled).

# American Certified Ethernet for protection against counterfeit Ethernet chips / chip sets.

# Supports IPv4 & IPv6 Protocols

# Made in USA / Traffic Cabinet Input File / MTBF > 227,000 Hours

  - SUBMITTALS

# General:  Submittals shall be made in accordance with the Conditions of the Contract and Submittal Procedures Section.

# Shop Drawings and Schematics:  Shall depict the Layer 2 Industrial Ethernet switch in final proposed “as built” configuration.  The following must be provided:

# Connection diagrams for interfacing equipment.

# List of connected equipment.

# Locations for all major equipment components to be installed under this specification.

# Product Data:  The following shall be provided:

# Technical data sheets.

# A complete set of product instruction manuals.

# Quality Assurance Submittals:  The following shall be submitted:

# Test Report:  The final test report shall indicate that every device was tested successfully in a system test.

  - DELIVERY, STORAGE AND HANDLING

- General:  Delivery, storage, and handling of the Layer 3, 2, 2+, 2++ Industrial Ethernet switch shall be in accordance with the manufacturer’s recommendations.

# Ordering:  The manufacturer’s ordering instructions and lead-time requirements must be followed in order to avoid installation delays.

# Delivery:  The Layer 3, 2, 2+, 2++ Industrial Power Over Ethernet switch shall be delivered in the manufacturer’s original, unopened, undamaged container with identification labels intact.

# Storage and Protection:  The Layer 3, 2, 2+, 2++ Industrial Ethernet Traffic switch shall be stored and protected from exposure to harmful weather conditions and at the environmental conditions recommended by the manufacturer.

  - PROJECT/SITE CONDITIONS

- Temperature Requirements: Layer 3, 2, 2+, 2++, Industrial Ethernet switch products shall operate in an environmental temperature range of –40˚C to +85˚C   // –40˚F to +185˚F

- Humidity Requirements: Products shall operate in an environment with relative humidity of 0% to 97% (non-condensing).

  - WARRANTY

- Manufacturer shall warrant the Layer 3, 2, 2+, 2++ Industrial Power Over Ethernet switch products to be free from defects in material or workmanship for a Limited Lifetime Warranty. Maintenance releases for embedded software shall be supported for the full warranty period.

PART 2 - PRODUCTS

2.01	ACCEPTABLE MANUFACTURER

    - DYMEC, 1107 SE Willow Place, Blue Springs, MO 64014-5248, United States of America.
Telephone: +1-(816)-988-7861, Fax: +1-(480)-287-8605
Email: sales@DYMEC.com, Internet: www.DYMEC.com

- Substitutions: Not Permitted

- All Ethernet switches and SFP modules shall be supplied from a single manufacturer.

- SFP Modules MUST be temperature hardened

  - SYSTEM PERFORMANCE

    - The Layer 2 Industrial Ethernet switch products shall include, as a minimum, the following features/functions/specifications:

  - Provides managed edge connectivity into core networks.

  - Provides managed core network capability, if required.

  - IEC 61850-3 Certified

  - IEEE 1613 Certified

  - Supports ITU G.8032v2

  - Supports UL 60950-1 Hazardous Locations (HazLoc)

  - Strict Priority: DRR, DWRR, & WFQ Algorithms

  - Provides ERPS Ring Protection

  - Provide 2 x 10GbE SFP+ Slots

  - MAC Table 32 K

  - Priority Queues 8

  - Security Queues 8

  - Switching Fabric Latency <7 us

  - Switching Bandwidth 64 Gbps

  - Port Rate Limiting – User Defined

  - Provides dual redundant uplink capability.

  - Provides 8 x 10/100/1000BaseT(X) PSE RJ45 ports (30 Watts)

  - Supports Single mode, Plastic or Multi mode Fiber

  - Fiber Range 1 Meter to 120 KM

  - Possess a power consumption of less than 12 Watts Typical (Excluding POE)

  - Operate in temperature ranges of -40°C to +85°C

  - Provide a casing with IP40 protection class.

  - Recover from port and cable failures in less than 5ms.

  - Provide Device Binding +

  - Possess the ability to be configured using HyperTerminal, Telnet, SSH and a Web Browser.

  - Possess 4095 Vlan’s

  - VLAN ID Range 1-4095

  - IGMP Multicast Groups 128 for Each Vlan

  - Possess Port Status indicators.

  - Possess Ring Port Status indicators

  - Provide Fiber Cable diagnostics & Remote Temperature Sensing

  - Provide full SFP Diagnostics & DDMI Support

  - Provide Copper Cabling Diagnostics

  - Provide MAC Table (32 K) Display & Diagnostics

  - Support Jumbo Frame – 10 K Bytes

  - Possess CYBER-SECURE Video with Silicon Enhancements

  - Possess Clean Code Technology (Precision Coding Algorithms)

  - IP HD Camera Ready

  - Supports Enhanced Device Binding Security Feature

  - Enable / Disable Ports, MAC Based Port Security

  - Port based Network Access Control (NAC) (802.1x)

  - MAC – Based Authentication

  - MAC – Address Limit

  - VLAN Support (IEEE 802.1Q-2014) to Segregate & Secure Traffic

  - VLAN Trunking

  - Radius Centralized Password Management

  - SNMPv3 Encrypted Authentication & Access Security

  - Https / SSH Enhanced Network Security

  - WEB & CLI Authentication & Authorization

  - IP Source Guard (Filtering Security Mechanism)

  - Possess Automatic Denial of Service (DOS) / Distributed Denial of Service (DDOS) attack prevention and quenching mechanisms on every port.

  - Possess IP Policing and Port Binding Mechanism for MAC Address and IP Addressing Security.

  - Quick Configuration Wizard for Cameras / HD Video

  - Fiber Switch Latency of 5 us or less

  - Hardware Routing, RIP & Static Routing

  - IEEE 1588v2 Clock Synchronization – with Security

  - IEEE 802.1D Bridge, Auto-MAC Address Learning, Aging & MAC Address (static)

  - Supports MVRP – Multiple VLAN Registration Protocol

  - Supports IEEE 802.1ak - Multiple Registration Protocol (MRP)

  - Redundant Fiber Recovery Time less than 25 ms. Over 300 devices

  - MSTP (RSTP / STP Compatible)

  - Supports TOS / Diffserv

  - Supports IEEE 802.1p Quality of Service for real time traffic

  - Supports IEEE 802.1Q with VLAN Tagging

  - Supports IGMP v2/v3 Snooping

  - Supports IP Based Bandwidth Management

  - Supports IP Policing

  - Supports Application Based QoS Management

  - Software Based DOS / DDOS Auto-Prevention

  - Silicon Based DOS / DDOS Auto-Prevention

  - Supports Port Configuration & Labeling

  - Supports Port Status, Statistics, Monitoring & Security

  - Easy Configuration Wizard

  - Supports Extended DHCP Server / Client

  - Supports Secure DHCP Server / Client

  - Supports DHCP Relay

  - Supports Modbus TCP

  - Supports SMTP Client

  - Supports SNTP Server

  - Supports Network Redundancy

  - Supports VRRP

  - Supports Redundant Fiber Ring / Ring Chain

  - Supports MRP Fiber Rings (Siemens / Ruggedcom Compatible)

  - Supports DC or AC Power Inputs

  - Redundant Power Supplies (Optional)

  - NEMA TS1 & TS2

  - SMART LED Display System

  - Dimensions : 58.0 (W) x 114.0 (D) x 205.0 (H) mm

  - Requires < 18 Watts

  - Supports VDSL2 SFP

  - KY-Dongle - Backup Capable for Automated Data & Configuration Backup

# All ports and power inputs are surge protected and the switch is Fanless (Convection Cooled).

# American Certified Ethernet for protection against counterfeit Ethernet chips / chip sets.

# Supports IPv4 & IPv6 Protocols

  - Made in USA / Traffic Cabinet Input File / MTBF > 227,000 Hours

  - Switch Specifications:

      - Physical Ports:

      - 10/100/1000 BaseT(X) Ports – RJ45 (Auto MDI /MDIX)

6 PORTS (30 Watts Per Port // Bidirectional. Surge Protected

Auto-Negotiable

      - 100/1000 Base-(X) SFP Sockets

2 SFP Sockets, Bidirectional, Surge Protected, Auto-Negotiable

      - 1000/10000 Base-(X) SFP+ Sockets

2 SFP Sockets, Bidirectional, Surge Protected, Auto-Negotiable

      - Ethernet Standards:

- IEEE802.3 for 10BaseT / IEEE802.3ae

- IEEE802.3u for 100BaseTX

- IEEE802.3z for 1000Base-X

- IEEE802.3ab for 1000 Base-T

- IEEE802.3ae for 1000 Base-T

- IEEE802.3x for Flow Control

- IEEE802.3ad for LACP (Link Aggregation Control Protocol)

- IEEE802.1D for STP (Spanning Tree Protocol)

- IEEE802.1p for Cos (Class of Service)

- IEEE802.1Q for VLAN Tagging

- IEEE802.1w for RSTP (Rapid Spanning Tree Protocol)

- IEEE802.1x for Authentication

- IEEE802.1s for MSTP (Multiple Spanning Tree Protocol)

- IEEE802.1AB for LLDP (Link Layer Discovery Protocol)

- IEEE802.1AEbw (MACsec)

- IEEE 1588v2

- IEC 62439-2 – Media Redundancy Protocol

- IEC 61850-3

- IEEE 1613

- ITU G.8032v2

- DDMI

- ERPS

      - Ethernet Interface Specifications

1. 	Ethernet Compliance: IEEE 802.3 10BASE-T, IEEE 802.3u 100BASE-TX & 100BASE-FX, IEEE 802.3x Full Duplex, IEEE 802.3z Gigabit Fiber, IEEE 802.1AB, IEEE 802.1d Spanning Tree, IEEE 802.1w Rapid Spanning Tree, IEEE 802.1p Class of Service and IEEE 802.1q VLAN Tagging. LLDP, Jumbo-Frames

2. 	Interface: RJ45 Auto-MDI/MDI-X & 1000 Base SFP.

3.	Data Rate: 10/100/1000 Mbps (Manual or auto-negotiate) and SFP ports that can be configured as 1000Base-TX or 1000Base-SX/LX/LH/ZX.

4. 	Operating Mode: Half or full-duplex

5. 	Network Protocols: Unicast/Multicast/Broadcast, SNMP v3.0, IGMP, ARP, STP, RSTP, eRing & SNTP.

      - Switch Specifications

1.	Switching Method: Store & Forward.

2.	Transfer Rate: 148,810pps Fast Ethernet Port, 1,488,100pps Gigabit Ethernet Port

Or 14,881,000 pps 10 GbE

3.	Backplane Switch Capacity: 64 Gbps

4.	Mac Address Table: 8192 Addresses

5.	Number of VLANs: 4094

6.	Number of Priority Queues: 8

7.	Number of Security Queues: 8

8.	Switching Latency: 6ųs

9.	Switching Bandwidth: 64 Gbps

10.	Maximum Available VLANS: 256

11.	IGMP Multicast Groups: 128 for Each VLAN

12.	Port Rate Limiting: User Defined

13.	Jumbo Frame Support: 9K Bytes

14.	MRP Ring Support

15. 	DDMI (Full fiber diagnostics and remote temperature sensing)

16.	Copper Cable diagnostics

17. 	MTBF 87,725 Hours

# 17.	All ports and power inputs are surge protected and the switch is Fanless (Convection Cooled).

# 18. 	Made in USA

      - Status Indicators

- Power Indicator: (PWR) Green Power Indicator

- System Ready Indicator: (STA) Green : Indicates System Ready / Blinking: System is upgrading firmware

- Ring Master Indicator: (RM) Green Indicates the system is operating in Ring Master Mode

- Ring Indicator: (Ring) Green Indicates the system is operating in Ring Mode. // Blinking indicates the ring is broken,

- System Running Indicator: (RUN) System operated continuously

- Reset to Default Running Indicator: (DEF) Green Indicates system reset to default configuration

7.	10/100/1000BaseT(X) RJ45 Indicator: Green for port Link/Activity Amber for Duplex /Collision

8.	100/1000Base(X) SFP Port Indicator: Green for port LINK/ACTIVITY

9.	System Status

  - POWER SPECIFICATIONS

    - Power Input:

      - 48 ~ 57 Volts DC – Backplane (Works in NEMA and NON-NEMA Traffic Cabinets

    - Frequency: 50-60 Hz

    - Power Consumption: < 18 Watts Typical

    - Overload Current Protection: Yes

    - Surge Protected: Yes

  - MECHANICAL SPECIFICATIONS

      - Dimensions: 96.4 (W) x 108.5 (D) x 154 (H) mm (3.8 x 4.2.7 x 6.06 inch)

      - Weight: 1,400g

      - Casing:	IP40 Protection

  - Regulatory Approvals

      - EMI: FCC Part 15, CISPR (EN55022) Class A, IEC-60255-5

      - EMC: EN50121-4 (EN50121-1

      - EMS: EN61000-4-2 (ESD), EN61000-4-3 (RS), EN61000-4-4 (EFT), EN61000-4-5 (Surge)

EN61000-4-11, EN61000-4-8, EN61000-4-6 (CS) EN61000-4-12, 61000-4-16, EN61000-4-17

      - SHOCK: IEC60068-2-27

      - FREE FALL: IEC60068-2-32

      - VIBRATION: IEC60068-2-6

      - NEMA: Exceeds NEMA TS-2 for Traffic Control Equipment

      - IEEE1613: IEEE C37.90. IEEE C37.90.1, IEEE C37.90.2, IEEE C37.90.3

      - IEC 61850-3: Substation / Wind Turbine Specifications

      - Safety: UL 6095001 Hazardous Locations

  - ENVIRONMENTAL SPECIFICATIONS

      - Operating Temperature: -40°C to +85°C

      - Storage Temperature: -40°C to +85°C

      - Humidity: 0% to 97% (non-condensing)

      - Emissions: FCC CFR47 Part 15/EN55022, Class A

      - IEC 600068-2-1, IEC 600068-2-2, IEC 600068-2-30. IEC 60255-21-1, IEC 60255-21-2

      - Mean Time between Failure: >227,000 hours

  - SFP Industrial Temperature Hardened MODULES (SFP)

The SFP modules used shall be supplied by DYMEC. The SFP modules shall have a hot-pluggable SFP footprint, low power dissipation, a metal enclosure for lower EMI, a single 3.3V power supply and an operating temperature range of -40°C to +85°C. SFP’s must support DDMI. The switch shall support but not be limited to supporting the following SFP Gigabit modules: (Note: D is for Diagnostics / nm is nanometer / S is Single-mode / M is Multi-mode)

- Copper, 10/100/1000 Mbps, 		100m, RJ45.			KY-CGSFP-TXRJ

- Copper, 100 Mbps, 1 / 2 Pair, Twisted, 	Up to 2400 m, VDSL2, RJ-45, D.	KY-VDSL2SFP

- Fiber, 1000 Mbps, 2 fibers, multi-mode, 	550m, 850nm, LC, D.		KY-MGSFP-550MD

- Fiber, 1000 Mbps, 2 fibers, multi-mode, 	2KM, 1310nm, LC, D		KY-MGSFP-LR2KMD

- Fiber, 1000 Mbps, 1 fiber, single-mode, 	3KM, 1310/1550nm, LC, D.	KY-BIDISGSFP-LR3KMD

- Fiber, 1000 Mbps, 2 fibers, single-mode, 	10KM, 1310nm, LC, D.		KY-SGSFP-LX10KMD

- Fiber, 1000 Mbps, 2 fibers, single-mode,	20KM, 1310nm, LC, D		KY-SGSFP-LX20KMD

- Fiber, 1000 Mbps, 2 fibers, single-mode, 	40KM, 1550nm, LC, D		KY-SGSFP-LX40KMD

- Fiber, 1000 Mbps, 2 fibers, single-mode, 	80KM, 1550nm, LC, D		KY-SGSFP-ZX80KMD

- Fiber, 1000 Mbps, 2 fibers, single-mode, 	120KM,1550nm, LC, D		KY-SGSFP-ZX120KMD

- Fiber, 1000 Mbps, 1 fiber, single-mode 	10KM, 1550nm/1310nm, D.	KY-BIDISGSFP-LX10KMD

- Fiber, 1000 Mbps, 1 fiber, single-mode 	20KM, 1550nm/1310nm, LC, D.	KY-BIDISGSFP-LX20KMD

- Fiber, 1000 Mbps, 1 fiber, single-mode 	40KM, 1550nm/1490nm, LC, D.	KY-BIDISGSFP-LX40KMD

- Fiber, 1000 Mbps, 1 fiber, single-mode 	80KM, 1550nm/1490nm, LC, D.	KY-BIDISGSFP-ZX80KMD

- Fiber, 10000 Mbps, 2 fibers, multi-mode, 	3KM, 1310nm, LC, D		KY-MGSFP-LR3KMD

SFP+ 10 Gigabit Industrial Temperature Hardened Modules (SFP+)

- SFP+ 850nm,	2 fibers    	300m		KY-10G-SFP+/SOSP-8599-05

- SFP+ 1310nm, 	2 fibers   	2KM LRM	KY-10G-SFP+/SOSP-3199-2

- SFP+ 1310nm   	2 fibers,		10KM		KY-10G-SFP+/SOSP-3199-10

- SFP+ 1310nm   	2 fibers,		20KM		KY-10G-SFP+/SOSP-3199-20

- SFP+ 1550nm   	2 fibers,		40km		KY-10G-SFP+/SOSP-5599-40

- SFP+ 1550nm    	2 fibers,		80KM		KY-10G-SFP+/SOSP-5599-80

- BIDI SFP+	1 fiber	Tx1270nm/Rx1330nm 	10KM	KY-10G-SOSPB-2399-10

- BIDI SFP+	1 fiber	Tx1330nm/Rx1270nm 	10km	KY-10G-SOSPB-3299-10

- BIDI SFP+	1 fiber	Tx1270nm/Rx1330nm 	20km	KY-10G-SOSPB-2399-20

- BIDI SFP+	1 fiber	Tx1330nm/Rx1270nm 	20km	KY-10G-SOSPB-3299-20

- BIDI SFP+	1 fiber	Tx1270nm/Rx1330nm 	40km	KY-10G-SOSPB-2399-40

- BIDI SFP+	1 fiber	Tx1330nm/Rx1270nm 	40km	KY-10G-SOSPB-3299-40

- BIDI SFP+	1 fiber	Tx1270nm/Rx1330nm 	60km	KY-10G-SOSPB-2399-60

- BIDI SFP+	1 fiber	Tx1330nm/Rx1270nm 	60km	KY-10G-SOSPB-3299-60

- BIDI SFP+	1 fiber	Tx1490nm/Rx1550nm 	80km	KY-10G-SOSPB-4599-80

- BIDI SFP+	1 fiber	Tx1550nm/Rx1490nm 	80km	KY-10G-SOSPB-5499-80

- SFP+ CWDM 1XX0nm 	20km（1270-1330）	KY-10G-SFP+CWDM-SOSC-XX99-20

- SFP+ CWDM 1XX0nm 	40km（1450nm）		KY-10G-SFP+CWDM-SOSC-XX99-40

- SFP+ CWDM 1XX0nm 	60km			KY-10G-SFP+CWDM-SOSC-XX99-60

- SFP+ CWDM 1XX0nm 	80km			KY-10G-SFP+CWDM-SOSC-XX99-80

- SFP+ DWDM 		40km			KY-10G-SFP+DWDM-SOSD-GR99-40

- SFP+ DWDM 		80km			KY-10G-SFP+DWDM-SOSD-GR99-80

- PART 3 - EXECUTION

# 3.01 	EXAMINATION

- Inspect modules before installation to verify physical condition as well as inclusion of all peripheral materials

- Modules shall be free of any cosmetic defects or damage.

- Shipping box shall include the module, power supply (surface mount units) and operations manual.

# 3.02	PREPARATION

- Wall Mount

- Shall be mounted on a properly prepared surface adequate for the size and weight of module. The placement of the unit shall allow provision for cable installation and maintenance as indicated on the approved detail drawings and in accordance with the installation manual.

- Rack Mount

- Shall be mounted on a properly installed equipment cabinet or rack adequate for the

size and weight of the unit. The placement of the unit shall allow provision for cable installation and maintenance as indicated on the approved detail drawings and in

compliance with the installation manual.

# 3.03 	INSTALLATION

- General: The Layer 3, 2, 2+, 2++ Industrial Ethernet switch products must be installed, configured, and tested in accordance with the manufacturer’s instructions.

# 3.04 	TESTING AND CERTIFICATION

- The Contractor shall demonstrate the functionality of the Layer 3, 2, 2+, 2++ POE Ethernet switch on completion of installation, documenting the result of all tests and providing these results to the Owner.  The Layer 2, Ethernet switch shall be tested in accordance with the following:

- The Contractor shall conduct a complete inspection and test of all installed Layer 3, 2,2+, 2++, Ethernet switch equipment.  This includes testing and verifying operation with connected equipment and network infrastructure.

- The Contractor shall provide staff to test all devices and all operational features of the system for witness by the Owner’s representative and the Authority having jurisdiction.  All testing must be witnessed by the Owner’s representative, prior to acceptance.

## END OF SECTION

# Brief Specification

# The Layer 3, 2, 2+, 2++, IP40, 10 GbE, Managed Industrial Ethernet Edge switch products shall be DYMEC model KY-1010EMD. Refer to contract drawings for mounting type. The system shall provide edge connectivity into both edge and core networks. The system shall provide 8 x 10/100/1000BaseT(X) PSE RJ45 ports (30 Watts), & 2 x 10 GbE SFP+ Gigabit / 10 Gigabit sockets, 2 Back Plane Connectivity power / ground Inputs, a shielded RJ45 Console interface (KY-DONGLE) support. The SFP ports shall be configured as either 10/100/1000BASE-T(X) RJ45 copper ports or 1000BASE / 10000BASE -SX/LX/LH/ZX, LC fiber ports, in any permutation, to provide maximum network flexibility. The system shall provide a casing with an IP40 protection class rating. The system shall have high speed redundant ring technology (MRP / ERPS) and be able to recover from port and cable failures in less than 5 ms. Configuration of the system shall be achieved by either HyperTerminal, Telnet or a Web Browser. The system shall provide port status indicator. The system shall provide the ability to be configured in a Ring network and shall have an additional uplink port. The system shall provide Broadcast Storm Control, Device Binding Plus, 32 K MAC Table, DDMI, Automated Configuration Backup Dongle, Copper & Fiber Cable Diagnostics, Remote Temperature Sensing, Port Mirroring, Static FDB, Multicast, Quality of Service (QoS), Virtual Local Area Networks (VLANs), Port Trunking, RMON Configuration, Secure Shell (SSH), Authentication, DHCP Server, DHCP Client, LACP,VLAN’s, Automatic DOS & DDOS Quenching, MSTP, Cyber Secure Video (CSV),TOS, COS, DiffServ, Protocol 41, Jumbo Frames(up to 9K),IGMP Snooping, IGMPv3,IP based Bandwidth Management, SNMPv3, GVRP, MAC based Port Security, IP Based Port Security, MAC & IP based Port Security, NEMA TS-2, Configuration Wizards,   Authorization, Authentication and Accounting (AAA).The system shall use Store & Forward as its switching method. The switch latency will be 2us or less. The system’s transfer rate shall be 148,810pps Fast Ethernet Port, 1,488,100pps Gigabit Ethernet Port, 14,881,000pps 10 Gigabit Ethernet Port -  its backplane switch capacity shall be 64 Gbps, it shall provide up to 4094 VLANs, an 16K MAC address table, 8 Security Queues and 8 Priority Queues. The system shall support the following protocols: Simple Network Management Protocol (SNMP) v3.0, Internet Group Management Protocol (IGMP) Snooping, LLDP, Address Resolution Protocol (ARP), Spanning Tree Protocol (STP), Multicast, Rapid Spanning Tree Protocol (RSTP), eRing (proprietary redundant ring protocol), ERPS – Ring Protection Protocol, Simple Network Time Protocol (SNTP). The system shall have an operating temperature of -40°C to +85°C, have an operating humidity of 0 to 97% non-condensing, and have a power consumption of less than 12 Watts Typical -  and an MTBF of > 227,000 hours. The system shall provide built in over-current protection. All ports and power inputs are surge protected and the switch is Fanless (Convection Cooled). The system radiated emission shall be compliant with FCC Part 15/EN55022, Class A. Supports IPv4 & IPv6 Protocols

# The switch will have a Limited Lifetime Warranty and be manufactured in the USA.

# Supports VDSL2 SFP for twisted pair support

# The switch must be American Certified Ethernet.

# Works in NEMA and Non-NEMA Traffic Cabinets

# Remote Temperature Sensing / Safe Switch Temperature Alarms

# Temperature Range: -40C ~ +85C

# IEEE 1613 Certified

# IEC 61850-3 Certified

# ITU G.8032v2 Certified

# IEEE 1588v2 Certified

# UL 609501 Certified