**KY-ESC0802-M12 / DYMEC M12 Series**

**10 Port M12 Industrial Unmanaged Gigabit Ethernet Switch**



|  |  |
| --- | --- |
|  | * **Certified EN50155** * **8x 10/100T(x) M12 connector** * **2x 10/100/1000T(x) M12 connector with bypass function** * **Built for harsh environments and wide temperature range application** * **IP54 housing** * **Ruggedized** * **Surge Protected** * **Low Cost** * **SECURE**   A close up of a sign  Description generated with very high confidence |
| A close up of a sign  Description automatically generated |
|  | |
| **Specifications** | |

|  |  |
| --- | --- |
| **Technology** | |
| **Standards** | IEEE 802.3 10BaseT  IEEE 802.3u 100BaseTX  IEEE 802.3ab 1000BaseT |
| **Processing Type** | Store and Forward |
| **Switch Properties** | |
| **Priority Queues** | - |
| **Jumbo Frame** | 12000bytes |
| **MAC Table Size** | 16K |
| **Packet Buffer** | 12Mbits |
| **Interface** | |
| **Network Connector** | 8 x 10/100T(x) M12 Female D-coded 4-pole, 2 x 10/100/1000T(x) M12 Female X-coded 8-pole, auto negotiation speed duplex mode, auto MDI/MDI-X |
| **LED Indicators** | **Per unit:** PWR1, PWR2, Status  **Ports:** Link/Active with highest speed (Green), low speed (Amber) |
| **Power Requirements** | |
| **Operation Voltage** | LV: 24-48VDC, HV: 72-110VDC, redundant dual inputs |
| **Connection** | M12 Male S-coded 4-pole |
| **Power Consumption** | <15 Watts |
| **Protection** | Overload Current Protected, Reverse Polarity Protected |
| **Mechanical Construction** | |
| **Enclosure** | SECC |
| **Protection Class** | IP54 |
| **Dimensions** | 143 x 209 x 77 mm (W x H x D) |
| **Weight** | 1.20 kg |
| **Mounting** | Wall Mounting Kits, Optional DIN-Rail Mounting |
| **Environmental Limits** | |
| **Operating Temperature** | Extended: -40°C ~ 85°C (40°F ~ 176°F) |
| **Storage Temperature** | -40°C ~ 85°C (40°F ~ 185°F) |
| **Ambient Relative Humidity** | 5 to 95%, (Non-Condensing) |
| **Regulatory Approvals** | |
| **EMI** | FCC Part 15 Subpart B Class A  CE EN 55032 Class A |
| **EMS** | IEC61000-4-2 (ESD)  IEC61000-4-3 (RS)  IEC61000-4-4 (EFT)  IEC61000-4-5 (Surge)  IEC61000-4-6 (CS)  IEC61000-4-8 (Magnetic Field) |
| **Free Fall** | IEC60068-2-32 |
| **Shock** | IEC61373 |
| **Vibration** | IEC61373 |
| **Green** | RoHS Compliant |
| **Certifications** | EN 50155  EN 45545-2 |
| **MTBF** | >100,000 Hours |
| **Warranty** | 5 Years / Limited Lifetime |

|  |
| --- |
| **Note from DYMEC Development**  **In a continuing effort of improvement and updated technology, product specifications are subject to change without notice.** |
|  |
| **Dimensions (unit = mm)** |
|  |

|  |  |
| --- | --- |
|  | |
| **Ordering Information** | |
| **KY-ESC0802-M12-LV-T** | 10 Port M12 Industrial Unmanaged Gigabit Ethernet Switch  - 8x 10/100T(x) + 2x 10/100/1000T(x) M12 connectors  - Power Input: 24-48VDC  - Operating Temperature: -40°C ~ 85°C (40°F ~ 176°F) |
| **KY-ESC0802-M12-HV-T** | 10 Port M12 Industrial Unmanaged Gigabit Ethernet Switch  - 8x 10/100T(x) + 2x 10/100/1000T(x) M12 connectors  - Power Input: 72-110VDC  - Operating Temperature: -40°C ~ 85°C (40°F ~ 176°F) |

A close up of a sign

Description automatically generated